## COVER SHEET
BILL OF QUANTITIES
FINISHING OF S. HULHUMEEDHOO HEALTH CENTER EXTENSION BUILDING
0

## SUMMARY
SUMMARY OF BILLS OF QUANTITIES
FINISHING OF S. HULHUMEEDHOO HEALTH CENTER EXTENSION BUILDING
Bill No | Description |  | Amount
1 | PRELIMINARIES | Bill no. 01 | 0
2 | GROUND WORKS | Bill no. 02 | 0
3 | CONCRETE | Bill no. 03 | 0
4 | MASONRY AND PLASTERING | Bill no. 04 | 0
5 | ROOFING | Bill no. 05 | 0
6 | DOORS AND WINDOWS | Bill no. 06 | 0
7 | TILING | Bill no. 07 | 0
8 | CEILINGS | Bill no. 08 | 0
9 | PAINTING | Bill no. 09 | 0
10 | ELECTRICAL INSTALLATIONS | Bill no. 10 | 0
11 | HYDRAULICS & DRAINAGE | Bill no. 11 | 0
12 | AIR CONDITIONING SYSTEM | Bill no. 12 | 0
15 | TENDERER'S ADJUSTMENTS | Bill no. 13 | 0
| Sub total |  | 0
| GST 6% |  | 0
| GRAND TOTAL carried to form of bid |  | 0

## BoQ
BILL OF QUANTITIES
FINISHING OF S. HULHUMEEDHOO HEALTH CENTER EXTENSION BUILDING
Item | Description | Unit | Quantity | Rate/ Unit | Rate/ Unit | Total Unit Rate | Amount
|  |  |  | Material | Labour | Rates per Units
BILL No: 01
PRELIMINARIES
1.1 | General Notes
(1) | Abbreviations
m - meter
No - numbers
m³ - cubic meter
m² - square meter
Lm - Linear meter
KG - Kilograms
incl - including
mm - millimeter
dia - diameter
SS - Stainless Steel
GI - Galvanized Iron
1.4 | Clean-up
1 | Allow for clean-up of completed works and site upon completion. | Item | 1 |  |  | 0 | 0
| BILL No: 01 PRELIMINARIES | [5 empty] | 0
TOTAL OF BILL No: 01 - Carried over to summary
BILL No: 02
GROUND WORKS
2.1 | General
(a) Rates shall include for: leveling, grading, trimming, compacting to faces of excavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.2 | Basement filling Above ground level. |  |  |  |  | 0 | 0
1 | Back filling above ground level in 100mm thick compacted layers of approved back fill soil : rates shall include for leveling, grading, trimming and compaction in 100mm layers of filled areas of excavation | m³ | 4.8 |  |  | 0 | 0
[6 empty] | 0 | 0
2.3 | Damp Proof Membrane |  |  |  |  | 0 | 0
| Cutting and laying in position heavy duty polythene sheets of gauge 500 (not less than 1.5mm thick). Rates shall include for: dressing around and sealing to all penetrations. Apply slurry type waterproofing to all surfaces of concrete below ground level in accordance with manufacturer's instructions. |  |  |  |  | 0 | 0
1 | Damp proof membrane below floor slab | m² | 16 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
| BILL No: 02 - GROUND WORKS | [5 empty] | 0
TOTAL OF BILL No: 02 - Carried over to summary
BILL No: 03
CONCRETE
3.1 | General
Rates shall include for cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and other supports, laps and wastage, all reinforcement bars except 6 mm dia bars shall be of deformed high strength bars. 6 mm bar shall be round mild steel bars. Binding wire shall be of 1.6 mm or 1.4 mm soft iron wire. Reinforcement bars shall be cleaned before use i.e. should be free from rust, oil, din, or other coatings that reduces bonds, all reinforced bars and binding wires shall be stored under cover of at least 450 mm above the ground, cutting and bending according to approved manner & the approved working drawing, placing and fixing in position and binding should be as per the approved working drawing, laps in the bars shall be staggered, concrete cover for reinforcement shall not less than 50 mm for substructure, 40 mm for columns & side beams and not more than 30 mm for slab and beam bottoms. Desalinated water shall be used for all purposes, ground water shall not be used.
[6 empty] | 0 | 0
3.2 | Reinforced Concrete |  |  |  |  | 0 | 0
| In-situ reinforced concrete to: |  |  |  |  | 0 | 0
| *Add water proofing compound / admixture to concrete mix for walls GL and Roof Slabs |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
3.2.1 | Ground Floor |  |  |  |  | 0 | 0
1 | RCC Ground Slab 100 mm thick, 10 mm dia bars @250 B/W, For ground slab (Rate shall include for reinforcement and shuttering required as per the drawings) | m³ | 1.5 |  |  | 0 | 0
[6 empty] | 0 | 0
3.3 | OTHER CONCRETE WORKS |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
1 | Fabrication of Concrete sink cupboard at Doctors rest room, 1.375 Meter length and 600mm width as per drawings, Rates shall include, concrete works tiling of all surfaces, installation of ceramic Single ball SS sink with faucet. And Rates shall also include all hydraulic works related to this item. Also rates shall include fixing of timber door panel and shelves. | Item | 1 |  |  | 0 | 0
2 | Fabrication of Concrete sink cupboard at Nurse station, 1.250 Meter length and 600mm width as per floor plan, Rates includes, concrete works tiling of all surfaces, installation of ceramic laboratory sink 620x480x255mm, (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include to connect fresh water, waster water related to this item. Also rates shall include fixing of timber door panel and shelves with PVC role fomica on all surface. | Item | 1 |  |  | 0 | 0
3 | Fabrication of Concrete sink cupboard at Dirty Utility, 0.850 Meter length and 600mm width as per floor plan, Rates includes, concrete works tiling of all surfaces, installation of ceramic laboratory sink 620x480x255mm, (Cotto or equivalent) with an wall mount elbow operated faucet. And Rates shall also include to connect fresh water, waster water related to this item. Also rates shall include fixing of timber door panel and shelves with PVC role fomica on all surface. | Item | 1 |  |  | 0 | 0
| BILL No: 03 - CONCRETE WORKS | [5 empty] | 0
TOTAL OF BILL No: 03 - Carried over to summary
BILL No: 04
MASONRY AND PLASTERING
[6 empty] | 0 | 0
[6 empty] | 0 | 0
4.1 | Dry wall partition |  |  |  |  | 0 | 0
| 100mm thick dry wall partition, Steel frame with 12mm thick Shera board on both side of partiotion. Rates includes to fabricate partition as per manufactures instructions as well as puttying |  |  |  |  | 0 | 0
and Anti bacterial also washable paint on both side and other necessary works.
1 | Partition wall , up to the ceiling. | m² | 220 |  |  | 0 | 0
| BILL No: 04 - MASONRY AND PLASTERING | [5 empty] | 0
TOTAL OF BILL No: 04 - Carried over to summary
BILL No: 05
ROOFING
5.1 | General
(a) Rates shall include for: fair edges, dressing over angel fillets, turning into grooves, all other labors, circular edges, nails, screws and other fixings and laps.
(b) Rates shall include to apply Wood preservative to all the surface of timbers (Roof structure).
(b) Rates shall include to remove existing end cap, fascia board and necessary roofing sheets and necessary works to connect new roof to existing roof.
[6 empty] | 0 | 0
5.2 | Down Pipes |  |  |  |  | 0 | 0
1 | 75 mm dia uPVC down pipes including bends, junctions, straps, brackets, clips, roof drain strainer and all fixings. | m | 55 |  |  | 0 | 0
[6 empty] | 0 | 0
5.3 | Canopy |  |  |  |  | 0 | 0
1 | making of canopy as per the given drawings | Item | 1 |  |  | 0 | 0
| BILL No: 05 - ROOFING | [5 empty] | 0
TOTAL OF BILL No: 05 - Carried over to summary
BILL N0: 06
DOORS AND WINDOWS
6.1 | General
Aluminum Doors and windows, Fabricate and fix in position the aluminum doors and window frame - aluminum doors and window (white powder coated, 60-80 micron, 1.5mm profile thickness) using recommended material with specified fixtures as shown in approved working drawings and installation should be as per technical specifications. Rates shall include for locks, latches, closures, push plates, pull handles, bolts, kick plates hinges, screws, washer and all door and window hardware and these materials should be of ss steel according to drawing and of superior quality.
(a) All door and window frames and panels shall be as specified in the drawing and timber boarder to be fixed all timber doors.
(b) All glazing shall be 6mm Tinted.
(Profiles to be chosen by client).
6.2 | Door / Windows units
1 | D1, Aluminum 60-80 Micron, white powder coated Door 2150X900mm with panels as per drawings. | no | 2 |  |  | 0 | 0
2 | D2, Solid timber Door 2150X1350mm with panels as per drawings. | no | 5 |  |  | 0 | 0
3 | D3, Aluminum 60-80 Micron, white powder coated Door 2150X1000mm with panels as per drawings. | no | 2 |  |  | 0 | 0
4 | D4, Solid timber Door 2150X950mm with panels as per drawings. | no | 5 |  |  | 0 | 0
5 | D5, Aluminum 60-80 Micron, white powder coated Door 2150X900mm with panels as per drawings. | no | 1 |  |  | 0 | 0
6 | W1, Aluminum 60-80 Micron, white powder coated window 2300x1300mm with panels as per drawing. | no | 6 |  |  | 0 | 0
7 | W2, Aluminum 60-80 Micron, white powder coated window 1700x1300mm with panels as per drawings (also include Aluminum grill). | no | 4 |  |  | 0 | 0
8 | V1, Aluminum 60-80 Micron, white powder coated window 500x675mm with panels as per drawings (also include Aluminum grill). | no | 2 |  |  | 0 | 0
9 | V2, Aluminum 60-80 Micron, white powder coated window 500x1300mm with panels as per drawings (also include Aluminum grill). | no | 4 |  |  | 0 | 0
[6 empty] | 0 | 0
6.3 | Window Curtains |  |  |  |  | 0 | 0
| Supply and installation of Curtains for following windows, quality of Curtains should be sun protected high quality, Rates should be complete installation of curtain with railing and ect.. |  |  |  |  | 0 | 0
1 | W1 windows , size of finished curtain should be 2.9m height, X1.9 meter width. | No | 6 |  |  | 0 | 0
2 | W2 windows , size of finished curtain should be 2.9m height, X1.275 meter width. | No | 4 |  |  | 0 | 0
6.4 | BED SIDE CURTAINS |  |  |  |  | 0 | 0
| Supply and complete installation of top quality Hospital grade bed side curtain including railing/Track. Length of rail/track is 6870mm, and height of curtain would be 2.4 meter. |  |  |  |  | 0 | 0
1 | Ward area | Item | 5 |  |  | 0 | 0
[6 empty] | 0 | 0
6.5 | Nurse station counter |  |  |  |  | 0 | 0
1 | Design and Fabrication of Registration counter as per drawings, Fabrication of counter to be timber and appropriate thick plywood with PVC fomica. | No | 1 |  |  | 0 | 0
2 | Design and Fabrication of timber ward wardrobe to fix all rooms, (Length 1525mm, width 600mm, height 2.150mm) with 2 sliding doors. Fabrication of wardrobe to be use with timber and appropriate thick plywood with PVC fomica. | No | 4
| BILL N0: 06 - DOORS AND WINDOWS | [5 empty] | 0
TOTAL OF BILL No: 06 - Carried over to summary
BILL N0: 07
TILING
7.1 | General
Prepare surface for approved bedding tiles with reach bedding materials as per the technical specifications & approved working drawings, fix tiles with ct grout in a precise manner to maintain correct alignment, applying tile grout and wiping any excess grout to ensure the required standards of finished works. Rates shall include for: fixing, bedding, grouting, and pointing materials; making good around pipes, sanitary fixtures, and similar; cleaning down and polishing any other similar works to ensure the required finish. All tiles shall be Full body homogeneous tiles or equivalent.
7.2 | Floor finish
7.2.1 | 600x600 skid resistant full body homogeneous floor tiles, Rocell wood series or equivalent. |  |  |  |  | 0 | 0
1 | General floor tiling | m² | 205 |  |  | 0 | 0
2 | Toilets and Ablution area floor tiling | m² | 15.09 |  |  | 0 | 0
[6 empty] | 0 | 0
7.3 | Wall finish |  |  |  |  | 0 | 0
7.3.1 | 300x600 mm full body homogeneous wall tile, Rocell wood series or equivalent. |  |  |  |  | 0 | 0
1 | Nurse station, 2.4 meter from floor finish level | m² | 26.13 |  |  | 0 | 0
2 | Dirty utility, 2.4 meter from floor finish level | m² | 18 |  |  | 0 | 0
3 | Doctors lounge toilet, 2.4 meter from floor finish level | m² | 10.4 |  |  | 0 | 0
4 | Patients toilet area toilet, 2.4 meter from floor finish level | m² | 63 |  |  | 0 | 0
5 | Ablution area, 2.4 meter from floor finish level | m² | 20 |  |  | 0 | 0
6 | Corridor area, 2.4 meter from floor finish level | m² | 115 |  |  | 0 | 0
7 | Tile skirting 150mm height. For walls ( except 2.4meter height tiled walls) | Item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
7.4 | Prayer Room |  |  |  |  | 0 | 0
1 | Laying of high quality mosque carpet with under layer. | m² | 12 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
| BILL No: 7 - TILING | [5 empty] | 0
TOTAL OF BILL No: 7 - Carried over to summary
BILL No: 8
CEILINGS
8.1 | Interior Ceilings
Interior ceiling consist of 35X50mm timber 600x600 grid frame with timber supports to roof structure , with 6mm thick Gypsum board suspended ceiling, including framing beading nails and screws as per manufactures instruction.
1 | Ground floor | m² | 223 |  |  | 0 | 0
8.2 | Exterior Ceilings
Exterior ceiling consist of 4mm thick fibre cement board suspended ceiling, including framing beading nails and screws. Grid of the frame to be 600 X 600 with timber supports to roof structure at every 1200 mm on the main entrance ceiling & 600X900 mm at eaves of roof ceiling, timber framing and supports of 50 x 50mm size shall be seasoned red meranti timber as per given drawing.
5mm dia. drilled wholes of 600x600 voids @ 2m spaces shall be provided in the eves ceiling
Demolish the existing masonry on the roof beam in between the rafters & provision of ventilation voids in between rafters.
1 | Ground floor | m² | 75 |  |  | 0 | 0
| BILL N0: 8 CEILINGS | [5 empty] | 0
TOTAL OF BILL No:8 - Carried over to summary
BILL No: 9
PAINTING
9.1 | General
Exterior wall shall be of 1 coat of oil based textured paint and 2 coats of Kansani weather bond paint ( oil based ) over 1 coat of oil based sealer ( white) or equivalent (according to technical specifications or approved drawings). Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Interior wall shall be of 2-3 coats over 1 coat of water based sealer. Rates includes Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for: the provision, erection and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and/or masking floors, fittings and similar work, removing and replacing door and window and including soffits and sides of beams.
Exterior & Exterior Ceiling (interior and exterior) shall be of 2 coats of (wood paint over 1 coat of wood primer or equivalent. Erection of scaffolding, preparing working platforms, applying sealer and two coats of paint as specified in the working drawings. Removal of scaffolding if any after completion of work. Rates shall include for the provision and removal of scaffolding, preparation, rubbing down between coats and similar work, the protection and or masking floors fittings and similar work removing and replacing door window furniture.
All painting work shall be carried in accordance with the Specifications
9.2 | Wall painting
9.2.1 | External painting 1 coat of wall sealer, 1 coat texture compound & 2 coats of paints ( all coats to be oil based and external paint).
Internal Painting 1 coat of wall sealer & 2 coats of paints, Emulsion paint putty finish system on plastered and concrete surfaces of internal walls.
1 | Ground floor interior painting as spection above, ( Masonary walls) | m² | 185 |  |  | 0 | 0
2 | Ground floor interior painting as specifications above, ( Masonary walls and dry partition walls) putty finish with texture painting (Scandinavian finishing), Terraco decorative paint or equivalent paint) | m² | 695 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
9.3 | Interior Ceiling painting |  |  |  |  | 0 | 0
9.3.1 | Emulsion paint putty finish on concrete slab and beams, plywood / cement fiber board of all internal surfaces. 1 coat of primer & 2 coats of paints. |  |  |  |  | 0 | 0
1 | Emulsion putty paint finish | m² | 223 |  |  | 0 | 0
[6 empty] | 0 | 0
9.4 | Exterior ceiling painting |  |  |  |  | 0 | 0
1 | Exterior Ceiling painting as per specification given. | m² | 75 |  |  | 0 | 0
| BILL No: 9 - PAINTING | [5 empty] | 0
TOTAL OF BILL No: 9 - Carried over to summary
BILL No: 10
ELECTRICAL INSTALLATIONS
10.1 | General
(a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates shall include for electrical conduits, fittings, equipment and similar all fixings to various building surfaces
(d) Each Light/ light fixture and its switch is measured as one point; similarly each fan or each socket outlet is measured as one point;
(e) Rates shall include for supply and complete installation
10.2 | Mains connection
1 | Main connection: Rates shall include for screws, nails, bolts ,nuts, standard cable, fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories. Rates shall including for electrical conduits, fittings, equipment and similar items. Three - PHASE CABLE WIRING TO D-BOARD: All necessary work in trench shall include for excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers warning tape and disposal of surplus soil supply and laying of the cable in according to Maldives electricity bureau. ( 16mm2 4-Core Cable, Approved by respective Authorities, GI pipe, warning tape), contractor has to measure cable length from site. | no | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
10.3 | Electrical Boards |  |  |  |  | 0 | 0
1 | Three phase electrical distribution board (wall embedded) with one Meter: Supply and installation of D-Board . Rates Shall include all required Brackets and other electrical appliance as per drawings and Maldivian Regulations ( wall embedded ) Meter to be cover with whether proof box. All the light circuit should be one DB Sockets to be one DB. | no | 1 |  |  | 0 | 0
`
10.4 | Electrical wiring |  |  |  |  | 0 | 0
| Three phase Electrical wiring with copper conductor cable in conduits in walls and in casing on soffits of slab as specified to: |  |  |  |  | 0 | 0
1 | Wiring with 2.5 mm² cable to 1X13amp Power points | points | 60 |  |  | 0 | 0
2 | Wiring with 2.5 mm² cable to 2X13amp Power points | points | 3 |  |  | 0 | 0
4 | Wiring with 6 mm² cable to 1 x 15 Amp Power points | points | 2 |  |  | 0 | 0
5 | Wiring with 6 mm² cable to 1 x 15 Amp Power points (for AC) | points | 11 |  |  | 0 | 0
6 | Wiring with 2.5 mm² cable to lights and fan | points | 66 |  |  | 0 | 0
[6 empty] | 0 | 0
10.5 | Lighting / Fan |  |  |  |  | 0 | 0
1 | Ceiling LED panel light 300mm x 300mm 19W , Cool day light, (not crystal light or not Stellar bright) Total lumen 2300. or equivalent, | no | 41 |  |  | 0 | 0
2 | Ceiling Fan 1200mm dia, Usha or equivalent | no | 11 |  |  | 0 | 0
3 | Weather proof wall mount light (glass cover) with 13W LED bulb, (Philips) E27, Warm white, Total lumen 1400, | no | 9 |  |  | 0 | 0
4 | LED Emergency light ( 2 hours Battery charge) | no | 12 |  |  | 0 | 0
[6 empty] | 0 | 0
0
10.6 | Socket outlets
(a) All socket outlets shall be "Legrand" or equivalent.
1 | 1x13Amp wall Socket outlet, | no | 60 |  |  | 0 | 0
2 | 2x13Amp wall Socket outlet, | no | 3 |  |  | 0 | 0
3 | 1x15Amp wall socket outlet, | no | 2 |  |  | 0 | 0
4 | 1x15Amp wall socket outlet, for AC | no | 11 |  |  | 0 | 0
[6 empty] | 0 | 0
10.7 | Light switches |  |  |  |  | 0 | 0
| (a) All light switches shall be "Legrand" or equivalent. Each light should be control by one switch. |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
1 | One gang switch | no | 9 |  |  | 0 | 0
2 | Two gang switch | no | 12 |  |  | 0 | 0
3 | Three gang switch | no | 3 |  |  | 0 | 0
4 | Fan Controller | no | 11 |  |  | 0 | 0
5 | Out door photo cell switch | no | 3 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
10.8 | Telephone Network
Design and supply and complete installation of Telephone network (Including cabling and sockets) and connect to existing PABX. Cat6 cable to be used for laying telephone network.
1 | Supply and complete installatioon of 24 port, Double layer Manageable network switch as per Specifications | No | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
10.9 | Computer Network |  |  |  |  | 0 | 0
| Design, Supply and Complete Installation of computer networking, including CAT6 Cabling, Sockets and double layer switches, Allow for the provision of a completed and detailed set of shop drawings |  |  |  |  | 0 | 0
1 | Completion of Data Network points | No | 2 |  |  | 0 | 0
2 | D-Link Managable network switch 12 port, or equivalent | No | 1 |  |  | 0 | 0
3 | Supply and complete installatioon of Computer system as per specifications | No | 2 |  |  | 0 | 0
4 | Supply and complete installatioon of UPS as per specifications for Computers, APC Backup UPS pro BR 650VA or Equivalent. | No | 2 |  |  | 0 | 0
5 | Suuplying of Canon Black and white print as per Specifications | No | 2 |  |  | 0 | 0
10.1 | Finger print scanner |  |  |  |  | 0 | 0
| (a) Finger printing scanner should be fixed on both side of the door at Main entrance to get excess IN and OUT |  |  |  |  | 0 | 0
| (b) Finger scan reader brand ZKFR 1200 with both card and finger reading |  |  |  |  | 0 | 0
| (c) A controller should come with a back-up battery in case power loss. |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
1 | Supply and complete installation of Access control unit, specification mentioned above. Readers on both side. ( Main entrance) | Item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
10.11 | Lightening Protection System |  |  |  |  | 0 | 0
1 | Design, supply, and Complete installation of Erco, Eritech or equivalent lightening Protection System to cover the whole building as per local regulations (Rate shall include for all fixing of the system and down conductor to earthing) Coverage of lightning protection should be minimum 100 Meter Radius. Pric also include to install Marine grade SS post. | Item | 1 |  |  | 0 | 0
10.12 | TV Network |  |  |  |  | 0 | 0
| Design, Supply and Complete Installation of TV network as per survice providers requirments. Rates includes to lay the cables and connect the TV point (without Decorder) and all the neccesary items to complete the system, |  |  |  |  | 0 | 0
1 | Completion of TV points, ( 4 ward, Doctors rest room and Nurse station). | No | 6 |  |  | 0 | 0
2 | Supply and complete installation of 36" LCD TV, Philips, Sony or equivalent. ( 4 ward, Doctors rest room and Nurse station). | No | 6 |  |  | 0 | 0
10.13 | SOLAR PV SYSTEM
| Design supply and complete installation on 15KW Solar PV system. Rates includes to complete the system and connect to the grid with net metering as per specification. ( junction box specs, Solar AC&DC cable specs, solar bracket specs, inverter specs & solar panel specs). | Item | 1
| BILL No: 10 - ELECTRICAL INSTALLATIONS | [5 empty] | 0
TOTAL OF BILL No: 10 - Carried over to summary
BILL No: 11
HYDRAULICS & DRAINAGE
11.1 | Hydraulics
11.1.1 | General
(a) Rates shall include for excavation, laying pipes and backfilling trenches, maintaining faces of drainpipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints brackets, joints, straps, hangers, screws, nails and fixing complete, and all joints and other incidental material, All Pipes and fittings area high pressure uPVC pipes
fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches.
(b) All pipe work shall be uPVC.
11.1.2 | Fresh water supply pipe work
1 | Completion of pipe works and Connect ground water supply pipe work to Fresh water network installed at hospital. | Item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
11.1.3 | Ground water supply pipe work |  |  |  |  | 0 | 0
1 | Completion of pipe works (flush tanks only) and Connect ground water supply pipe work. | Item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
11.1.4 | Sanitary fixtures & accessories |  |  |  |  | 0 | 0
| Sanitary fixtures & Accessories: Sanitary fixtures complete including brackets, flush pipes, valves, overflows, plugs and washers, as specified. |  |  |  |  | 0 | 0
1 | Water closet (Cotto) or equivalent, (dual top flush) | no | 3 |  |  | 0 | 0
2 | Wash basin with pedestal (Cotto) or equivalent | no | 4 |  |  | 0 | 0
3 | Floor drain with gully & water trap. | no | 5 |  |  | 0 | 0
4 | Water tap for wash basin , ( Cotto) or equivalent | no | 5 |  |  | 0 | 0
4 | Head shower with Head shower valve , ( Cotto) or equivalent for paytient toilets. | no | 4 |  |  | 0 | 0
5 | Hand shower with Hand shower valve , ( Cotto) or equivalent for paytient toilets. | no | 4 |  |  | 0 | 0
6 | Muslim Shower with Stop valve, ( Cotto) or equivalent | no | 3 |  |  | 0 | 0
7 | Floor waste with SS gully trap ( toilet and laundry area) | no | 5 |  |  | 0 | 0
8 | Stop Valves, ( Cotto) or equivalent | no | 20 |  |  | 0 | 0
9 | Wall cabinet ( Mirror and towel bar) Cotto and equivalent | no | 3 |  |  | 0 | 0
10 | Water tap for Ablution area , ( Cotto) or equivalent | no | 2 |  |  | 0 | 0
[6 empty] | 0 | 0
11.2 | Drainage |  |  |  |  | 0 | 0
11.2.1 | General |  |  |  |  | 0 | 0
| (a) Rates shall include for: excavation, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus spoil; bends, junctions, reducers, expansion joints and all joints and other incidental materials. |  |  |  |  | 0 | 0
| (b) All pipe work shall be UPVC |  |  |  |  | 0 | 0
1 | Constructing Concrete Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | Item | 2 |  |  | 0 | 0
[6 empty] | 0 | 0
11.3 | Pipe work |  |  |  |  | 0 | 0
[6 empty] | 0 | 0
1 | Completion of pipe works and Connect Waste disposal pipe 75mm dia to Sewer network installed at existing system. | Item | 1 |  |  | 0 | 0
2 | Completion of pipe works and Connect Sewers pipe 100mm dia UPVC to Sewer network installed at existing system. Rates includes to install inspection chamber as per consultants instructions. | Item | 1 |  |  | 0 | 0
3 | Completion of pipe works and Connect Sewers pipe 100mm dia UPVC to Sewer network installed at existing system. Rates includes to install inspection chamber as per consultants instructions. | Item | 1 |  |  | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
| BILL No: 11 - HYDRAULICS & DRAINAGE | [5 empty] | 0
TOTAL OF BILL No: 11 - Carried over to summary
BILL No: 12
AIR CONDITIONING SYSTEM
12.1 | General
(a) Rates shall include for detail design, supply and complete installation of A/C units pipework, insulation, fixings, electrical wiring, drain pipes etc.
(b) The Contractor shall provide detailed and complete set of shop drawings
12.2 | Air Condition
12.2.1 | Design, supply and complete installation of indoor and out door unit, with 40ø drop in water (type) 25ø extended as Cd drop in 32 flex conduit 18ø Cd drain (typ0 run above FC insulated, CU1/3 48,000 BTU/HR, all AC unit is DAIKIN VRV 4 digital wired thermostat or equivalent (INVERTER TYPE).
Following rooms should be installed AC, Casette type.
1 | Ward 1, 18,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | Item | 1 |  |  | 0 | 0
2 | Ward 2, 18,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | Item | 1 |  |  | 0 | 0
3 | Ward 3, 18,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | Item | 1 |  |  | 0 | 0
4 | Ward 4, 18,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | Item | 1 |  |  | 0 | 0
5 | Treatmement Room, 18,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | Item | 1 |  |  | 0 | 0
6 | Doctors Lounge, 18,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | Item | 1 |  |  | 0 | 0
7 | Store room, 12,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | Item | 1 |  |  | 0 | 0
8 | Prayer room, 12,000 BTU spilt type Ceiling cassette air conditioner (with wired remote) DAIKIN or equivalent. | Item | 1 |  |  | 0 | 0
9 | Corridoe with Nurse station, 36,000 BTU Multi spilt type Ceiling cassette air conditioner (withsingle wired remote) DAIKIN or equivalent. | Item | 2 |  |  | 0 | 0
| BILL No: 12 -AIR CONDITIONING SYSTEM | [5 empty] | 0
TOTAL OF BILL No: 12 - Carried over to summary
BILL No:13
TENDERER'S ADJUSTMENTS
13.1 | Any adjustments that the contractor may consider necessary should be written below and on similar continuation sheets if required, and the net amount of the adjustments is to be carried to the summary.
(a) Provide detail description of work items under each bill and insert extra pages if required.
13.2 | Additions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | GROUND WORKS, Bill no. 02 |  |  |  |  | 0 | 0
3 | CONCRETE, Bill no. 03 |  |  |  |  | 0 | 0
4 | MASONRY AND PLASTERING, Bill no. 04 |  |  |  |  | 0 | 0
5 | METAL WORKS, Bill no. 05 |  |  |  |  | 0 | 0
6 | DOORS AND WINDOWS, Bill no. 06 |  |  |  |  | 0 | 0
7 | TILING, Bill no. 07 |  |  |  |  | 0 | 0
8 | CEILINGS, Bill no. 08 |  |  |  |  | 0 | 0
9 | PAINTING, Bill no. 09 |  |  |  |  | 0 | 0
10 | HYDRAULICS & DRAINAGE, Bill no. 10 |  |  |  |  | 0 | 0
11 | ELECTRICAL INSTALLATIONS, Bill no. 11 |  |  |  |  | 0 | 0
12 | AIR CONDITIONING SYSTEM, Bill no. 12 |  |  |  |  | 0 | 0
13 | TENDERER'S ADJUSTMENTS, Bill no. 13 |  |  |  |  | 0 | 0
| ADDITIONS TOTAL | [5 empty] | 0
13.3 | Omissions
1 | PRELIMINARIES, Bill no. 01 |  |  |  |  | 0 | 0
2 | GROUND WORKS, Bill no. 02 |  |  |  |  | 0 | 0
3 | CONCRETE, Bill no. 03 |  |  |  |  | 0 | 0
4 | MASONRY AND PLASTERING, Bill no. 04 |  |  |  |  | 0 | 0
5 | METAL WORKS, Bill no. 05 |  |  |  |  | 0 | 0
6 | DOORS AND WINDOWS, Bill no. 06 |  |  |  |  | 0 | 0
7 | TILING, Bill no. 07 |  |  |  |  | 0 | 0
8 | CEILINGS, Bill no. 08 |  |  |  |  | 0 | 0
9 | PAINTING, Bill no. 09 |  |  |  |  | 0 | 0
10 | HYDRAULICS & DRAINAGE, Bill no. 10 |  |  |  |  | 0 | 0
11 | ELECTRICAL INSTALLATIONS, Bill no. 11 |  |  |  |  | 0 | 0
12 | AIR CONDITIONING SYSTEM, Bill no. 12 |  |  |  |  | 0 | 0
13 | TENDERER'S ADJUSTMENTS, Bill no. 13 |  |  |  |  | 0 | 0
| OMISSIONS TOTAL | [5 empty] | 0
| BILL No: 13 - TENDERER'S ADJUSTMENTS | [5 empty] | 0
TOTAL OF BILL No: 13 - Carried over to summary